## Design Files
Design file name | File type | Open-source license
base 11 | CAD files (STEP) | CC BY-SA 4.0
base 12 | CAD files (STEP) | CC BY-SA 4.1
base 21 | CAD files (STEP) | CC BY-SA 4.2
base 22 | CAD files (STEP) | CC BY-SA 4.3
top 22 | CAD files (STEP) | CC BY-SA 4.4
top 21 | CAD files (STEP) | CC BY-SA 4.5
debug cover | CAD files (STEP) | CC BY-SA 4.6
charging port | CAD files (STEP) | CC BY-SA 4.7
top 11 | CAD files (STEP) | CC BY-SA 4.8
top 12 | CAD files (STEP) | CC BY-SA 4.9
front 11 | CAD files (STEP) | CC BY-SA 4.10
back 11 | CAD files (STEP) | CC BY-SA 4.11
back 12 | CAD files (STEP) | CC BY-SA 4.12
front 12 | CAD files (STEP) | CC BY-SA 4.13
Side Vent v1 | CAD files (STEP) | CC BY-SA 4.14
Tab Cover 1 | CAD files (STEP) | CC BY-SA 4.15
Tab Cover 2 | CAD files (STEP) | CC BY-SA 4.16
Button1 v1 | CAD files (STEP) | CC BY-SA 4.17
Button2 v1 | CAD files (STEP) | CC BY-SA 4.18
Air Filter Vent v1 | CAD files (STEP) | CC BY-SA 4.19
Front Extension 1 (Base) | CAD files (STEP) | CC BY-SA 4.20
Front Extension 1 (Attachment | CAD files (STEP) | CC BY-SA 4.21
Front Extension 2 v1 | CAD files (STEP) | CC BY-SA 4.22
Pressure Hose Attachment v1 | CAD files (STEP) | CC BY-SA 4.23
Indicator v1 | CAD files (STEP) | CC BY-SA 4.24
Push Button v1 | CAD files (STEP) | CC BY-SA 4.25
DMX 5pin v1 | CAD files (STEP) | CC BY-SA 4.26
Rotary Encoder Module v1 | CAD files (STEP) | CC BY-SA 4.27
Knob 20mm v1 | CAD files (STEP) | CC BY-SA 4.28
Power Socket v1 | CAD files (STEP) | CC BY-SA 4.29
Switch DPDT v1 | CAD files (STEP) | CC BY-SA 4.30
DC Power Socket v1 | CAD files (STEP) | CC BY-SA 4.31
LCD Holder 1 | CAD files (STEP) | CC BY-SA 4.32
LCD Holder 2 | CAD files (STEP) | CC BY-SA 4.33
LCD Holder 3 | CAD files (STEP) | CC BY-SA 4.34
2.8_TFT_LCD_Display v1 | CAD files (STEP) | CC BY-SA 4.35
3mm Pin | CAD files (STEP) | CC BY-SA 4.36
Tab v1 | CAD files (STEP) | CC BY-SA 4.37
Holder1 | CAD files (STEP) | CC BY-SA 4.38
Holder2 | CAD files (STEP) | CC BY-SA 4.39
Support | CAD files (STEP) | CC BY-SA 4.40
Holder3 | CAD files (STEP) | CC BY-SA 4.41
Outlet Body | CAD files (STEP) | CC BY-SA 4.42
Outlet Base | CAD files (STEP) | CC BY-SA 4.43
Exhaust Valve Gate v1 | CAD files (STEP) | CC BY-SA 4.44
Stopper Bolt | CAD files (STEP) | CC BY-SA 4.45
Stopper Gasket | CAD files (STEP) | CC BY-SA 4.46
EOM(Base) | CAD files (STEP) | CC BY-SA 4.47
EOM (Push Body) | CAD files (STEP) | CC BY-SA 4.48
EOM (Servo Bracket) | CAD files (STEP) | CC BY-SA 4.49
Silicon Seal | CAD files (STEP) | CC BY-SA 4.50
Screw | CAD files (STEP) | CC BY-SA 4.51
EGV Base | CAD files (STEP) | CC BY-SA 4.52
MG995 v1 | CAD files (STEP) | CC BY-SA 4.53
Servo Horn v1 | CAD files (STEP) | CC BY-SA 4.54
Exhaust Gate Valve Coil Spring v1 | CAD files (STEP) | CC BY-SA 4.55
One Way Valve Inlet | CAD files (STEP) | CC BY-SA 4.56
One Way Valve Outlet | CAD files (STEP) | CC BY-SA 4.57
Adapter_14mm (Long) v1 | CAD files (STEP) | CC BY-SA 4.58
Adapter14mm v1 | CAD files (STEP) | CC BY-SA 4.59
WM7040 Pump v1 | CAD files (STEP) | CC BY-SA 4.60
HME Body | CAD files (STEP) | CC BY-SA 4.61
HME Cover | CAD files (STEP) | CC BY-SA 4.62
HME Inlet Mesh | CAD files (STEP) | CC BY-SA 4.63
Inlet Body v1 | CAD files (STEP) | CC BY-SA 4.64
Proportional Valve Body | CAD files (STEP) | CC BY-SA 4.65
Proportional Valve Cover | CAD files (STEP) | CC BY-SA 4.66
Adapter_14mm (Short) v1 | CAD files (STEP) | CC BY-SA 4.67
Adapter_14mm (Pump Outlet) v1 | CAD files (STEP) | CC BY-SA 4.68
Micro Tower 9g v1 | CAD files (STEP) | CC BY-SA 4.69
peep inlet | CAD files (STEP) | CC BY-SA 4.70
peep outlet | CAD files (STEP) | CC BY-SA 4.71
Peep Extension | CAD files (STEP) | CC BY-SA 4.72
Peep Valve Attachment | CAD files (STEP) | CC BY-SA 4.73
Hose_OXY | CAD files (STEP) | CC BY-SA 4.74
Hose_Release | CAD files (STEP) | CC BY-SA 4.75
Peep Hose | CAD files (STEP) | CC BY-SA 4.76
OXY Nozzle Body | CAD files (STEP) | CC BY-SA 4.77
OXY Nozzle Holder | CAD files (STEP) | CC BY-SA 4.78
PSU mount v1 | CAD files (STEP) | CC BY-SA 4.79
SMPS v1 | CAD files (STEP) | CC BY-SA 4.80
3S Battery Holder v1 | CAD files (STEP) | CC BY-SA 4.81
PANASONIC_NCR-18650B v1 | CAD files (STEP) | CC BY-SA 4.82
Holder | CAD files (STEP) | CC BY-SA 4.83
PSU Holder Tab v1 | CAD files (STEP) | CC BY-SA 4.84

## BOM
Designator | Component | Number | Cost Per Unit (USD) | Total Cost (USD) | Source
WM7040 Pump v1 | Turbine | 1 | 53 | 53 | https://www.aliexpress.com/item/10000048326249.html?spm=a2g0s.8937460.0.0.438c2e0ePyDUwe
| SFM3300-250-D Flow Sensor | 1 | 45 | 45 | https://www.digikey.com/en/products/detail/sensirion-ag/SFM3300-250-D/9857673
| Pressure Sensor- MPX2010DP | 1 | 19 | 19 | https://www.digikey.com/en/products/detail/nxp-usa-inc/MPX2010DP/410890?s=N4IgTCBcDaILYAcAeYAMBGVATBIC6AvkA
| Arduino Mega | 1 | 9.49 | 9.49 | https://cutt.ly/zmbwZLd
| Buck Converter - XL4015 | 3 | 1.3 | 3.9 | https://cutt.ly/xl4015
| Buck Converter - LM2596 | 1 | 1 | 1 | https://cutt.ly/lm2596
| Digital Encoder | 1 | 1 | 1 | https://cutt.ly/1mv4wQJ
MG995 v1 | MG995 Servo | 1 |  | 2 | https://cutt.ly/Smv7uFC
Micro Tower 9g v1 | Sg90 Micro Servo | 1 | 1 | 1 | https://cutt.ly/bmv7vfv
| Op Amp LM358 | 1 | 0.53 | 0.53 | https://www.digikey.com/en/products/detail/texas-instruments/LM358PE4/1510269
| Diode MBR20100 | 1 | 1.07 | 1.07 | https://www.digikey.com/en/products/detail/smc-diode-solutions/MBR20100/6022125
| 4.7K Ohms Resistor | 2 | 0.26 | 0.52 | https://www.digikey.com/en/products/detail/vishay-beyschlag-draloric-bc-components/MBB02070C4701FCT00/7351222
| 10K Ohm Metal Film Resistor | 2 | 0.4 | 0.8 | https://www.digikey.com/en/products/detail/vishay-beyschlag-draloric-bc-components/PR02000201002JA100/7351718
| 1M Ohm Resistor | 1 | 0.26 | 0.26 | https://www.digikey.com/en/products/detail/vishay-beyschlag-draloric-bc-components/MRS25000C1004FRP00/5063981
| Capacitor 104/100nF | 2 | 0.45 | 0.9 | https://www.digikey.com/en/products/detail/vishay-beyschlag-draloric-bc-components/K104K15X7RF53H5G/13279844
Tab v1 | Android Tab 10.11” Touch Screen | 1 | 95 | 95 | https://www.bdstall.com/details/5-star-2gb-ram-tablet-pc-50422/
2.8_TFT_LCD_Display v1 | 3.2 TFT Display | 1 | 11.61 | 11.61 | https://cutt.ly/omv3c9n
PANASONIC_NCR-18650B v1 | 18650 Battery | 6 | 3.65 | 21.9 | https://cutt.ly/xmv9Gkt
| BMS 3S1P | 2 | 1 | 2 | https://cutt.ly/Omv8Q3u
3S Battery Holder v1 | Battery Spacer | 4 | 0.24 | 0.96 | https://cutt.ly/dm6nxyz
| USB Cable 1 meter | 1 | 3 | 3 | https://www.aliexpress.com/item/4001177937131.html?spm=a2g0o.productlist.0.0.4b222681PWZUVC&aem_p4p_detail=202107041642053645446303884900061129794
DMX 5pin v1 | GX12-5 Connector | 1 | 6 | 6 | https://www.banggood.com/Electronic-Soldering-Iron-GX12-5-Connector-T12-Aviation-Head-Mini-Aviation-Male-DIY-Soldering-Kits-p-1153612.html?cur_warehouse=CN&rmmds=buy
| Pogo Pins | 1 | 4.76 | 4.76 | https://www.digikey.com/en/products/detail/mill-max-manufacturing-corp/816-22-006-10-001101/6149708
| Solderless docking type 4P, 5.08MM screw terminal | 3 | 0.5 | 1.5 | https://cutt.ly/4mx8ghB
DC Power Socket v1 | DC Jack Female | 1 | 0.2 | 0.2 | https://cutt.ly/rmv8rFg
| USB Type A Standard Port Female | 1 | 0.1 | 0.1 | https://cutt.ly/Fmx8UJH
| KF301-5.0-2P Green Connector | 1 | 0.1 | 0.1 | https://cutt.ly/Tmx4yFU
| Straight Male Pin Header | 1 | 0.1 | 0.1 | https://cutt.ly/Kmx7BCz
| Male Header L Shape | 1 | 0.8 | 0.8 | https://cutt.ly/rmv7ufC
L Connector
Power Socket v1 | Power Socket | 1 | 0.3 | 0.3 | https://cutt.ly/8mv8Ehn
| TO220 Heat Sink | 1 | 0.5 | 0.5 | https://cutt.ly/qmx7H1O
| Heat Shrink | 1 | 0.32 | 0.32 | https://cutt.ly/Cmv4PAG
| Ventilator Patient Circuit | 1 | 6 | 6 | https://bmabazar.com/shop/ventilator-patient-circuit/
| Viral Filter | 1 | 5 | 5 | https://bmabazar.com/shop/viral-filter/
| PLA Filament for 3D Printing | 3 | 23 | 69 | https://www.sunlu.com/products/new-pla-plus-pla-1-75-filament-1kg-2-2lbs?variant=31987368788054
Screw | Screw Assortment Kit | 1 | 20 | 20 | https://www.aliexpress.com/item/33033655207.html?spm=a2g0o.productlist.0.0.6e2077dcdv92xc&aem_p4p_detail=2021070500494735724609016020057207816
| Epoxy Glue | 5 | 0.91 | 4.55 | https://www.aliexpress.com/item/1005002511958246.html?spm=a2g0o.productlist.0.0.405f1e3cUZ4UkH&algo_pvid=85d47592-8cf0-4f68-99ac-b1c1b101c348&algo_exp_id=85d47592-8cf0-4f68-99ac-b1c1b101c348-3
Exhaust Gate Valve Coil Spring v1 | Coil Spring: | 1 | 2.29 | 2.29 | https://www.aliexpress.com/item/4000411749473.html?spm=a2g0o.productlist.0.0.e4573839rqzi4A&algo_pvid=471f3601-583e-449f-83e7-bbaa1fb64c96&algo_exp_id=471f3601-583e-449f-83e7-bbaa1fb64c96-1
(Length 25mm, Outer diameter 5mm, Wire thickness 0.3mm)
10 pcs Pack
Stopper Gasket | Rubber O-ring kit | 1 | 4.35 | 4.35 | https://cutt.ly/nmWW9V6
| 3mm Linear Rod (2 Pcs kit, 3mm*100mm) | 1 | 1.2 | 1.2 | https://cutt.ly/amSgoMs
Hose_OXY, Hose_Release | Silicon Tube 1 foot | 2 | 1.2 | 2.4 | https://cutt.ly/dm6mwlX
Silicon Seal | Silicone Sheet | 1 | 8.95 | 8.95 | https://cutt.ly/0mbtd5E
Peep Hose | 4mm Medical grade pipe | 1 | 4.99 | 4.99 | https://www.aliexpress.com/item/4000415201699.html?spm=a2g0o.productlist.0.0.1f6b709bzdHdIe&algo_pvid=fde0c927-c1c6-4d83-9afe-dd2b004d985d&algo_exp_id=fde0c927-c1c6-4d83-9afe-dd2b004d985d-1
| Heat Shrink Tube | 1 | 2.2 | 2.2 | https://cutt.ly/7mv5G4w
Peep Valve Attachment, Front Extension 1 (Attachment) | Extension Tube (4mm) | 1 | 8.86 | 8.86 | https://cutt.ly/emSfAHN